AIR QUALITY MONITORING

MQ 135 SENSOR

A device that is used to detect or measure or monitor the gases like ammonia ,benzene , sulphur and other harmful gases are called as an air quality gas sensors. The MQ135 air quality sensors, which belongs to the service of MQ gas sensor is widely used to detect harmful gases and smoke in the fresh air.

It operates at a 5V supply with 150mA consumption. Preheating of 20s is required before the operation to obtain the accurate output.

Figure 1.1: Pin Diagram of MQ135 sensor

- Connect pin 1(VEE) to the ground.

- Connect the pin 2 (VDD or VCC) to the 5V.

- Connect pin 3 (V0) to the middle pin of the 10k potentiometer and connect the other two ends to the potentiometer to the VCC and the GND.

- Connect pin 4 (RS) to the pin 12 of the Arduino.

- Connect pin 5 (read/write) to the GND of the Arduino.

- Connect pin 6 (E) to the pin level of the Arduino. The RS and E are the control pins which are used to send data and characters.

- Connect pin 11 (D4) to the pin 5 of Arduino.

- Connect pin 12 (D5) to the pin 4 of Arduino.

- Connect pin 13 (D6) to the pin 3 of Arduino.

- Connect pin 14(D7) to the pin 2 of Arduino

- Connect the pin 15 to the VCC through the 220 ohm resistor.

- Connect pin 16 to the ground.

HOW TO DETECT AND MEASURE GASES USING A MQ135 AIR QUALITY SENSOR:

To measure or detect the gases, use analog pins or digital pins. Just apply 5V to the module and We can observe that the module’s power LED turns ON (glows) and the output LED turns OFF when no gas is detected by the module. This means that the output of the digital pin is 0V.

Now, once when the MQ135 sensor is operated to detect, then the LED output goes high along with the digital output pin. Otherwise, use the potentiometer until the output increases. Whenever the sensor detects a certain gas concentration, the digital pin goes high (5V), otherwise it stays low (0V).

We can also use analog pins to get the same result. The output analog values ​​(0-5V) are read from the microcontroller. This value is directly proportional to the gas concentration detected by the sensor. By the experimental values, we can observe the working and reaction of the MQ135 sensor with different gas concentrations and the programming can developed accordingly.

AIR QUALITY SENSOR-PPM GRAPH:

Figure 1.2:PPM graph

- Temperature is 20°C, humidity is 65%, the concentration of O2 is 21% and load resistance RL is 20kilo ohms.

- Here Ro refers to the resistance value of the sensor at 100ppm of NH3 in clean air or fresh air.

- Rs refers to the resistance of the sensor at several gas concentrations.

- We can calibrate the MQ135 sensor by determining the Rs value from the below formula,

Resistance of sensor Rs = (Vc/VRL-1)RL.

After calculating the Ro and Rs values, the ratio is found, and using the above graph we can calculate the PPM value of the particulargas, which is to be measured.

BLOCK DIAGRAM OF MQ135 SENSOR:

Fig 1.3:Block diagram

- Connect ESP32 with your PC . Select a suitable port and ESP32 board and hit “upload” to upload the code into the ESP32.

- Provide the sensor with different types of smoke inputs and observe the output ppm levels in the web browser.

- Real time ppm values can also be viewed in the Arduino IDE serial monitor.Just paste the IP address in the web browser and observe the ppm levels.

BLOCK DIAGRAM:

FEATURES:

- It has a wide detection scope.

- High sensitivity and faster response.

- Long life and stability.

- The operating voltage: +5V.

- Measures and detects NH3, alcohol, NOx, Benzene, CO2, smoke etc.

- Range of analog output voltage: 0V-5V.

- Range of digital output voltage: 0V-5V (TTL logic).

- Duration of preheating: 20 seconds.

- Used as an analog or digital sensor.

- The potentiometer is used to vary the sensitivity of the digital pin.

- Heating Voltage: 5V±0.1.

- Load resistance is adjustable.

- ccoc